KANSAS STORMWATER 2025 ANNUAL REPORT FORM FOR MUNICIPAL SEPARATE STORM SEWER SYSTEMS (MS4)

Please place an “X” in the left box if any information has changed from previous years

| ☐ | Permittee [Agency Name] Mailing Address 1: | EASTBOROUGH |
| --- | --- | --- |
| ☐ | Mailing Address 2: | 1 E Douglas Ave |
| ☐ | Municipality: | Eastborough |
|  | State: | Kansas |
| ☐ | Zip Code: | 67206 |
| ☐ | MS4 Program Contact Person: | Stacy G. Moore |
| ☐ | Contact E-Mail Address: | Stacy.moore@eastborough-ks.gov |
| ☐ | Contact Phone Number: | (316) 734-5069 |
| ☐ | MS4 Program Construction Contact Person: | Stacy G. Moore |
| ☐ | Construction E-Mail Address: | Stacy.moore@eastborough-ks.gov |
| ☐ | Contact Phone Number: | (316) 734-5069 |
| ☐ | Kansas Permit Number: — Ex. M-MC21-SU01 | M-AR31-SU01 |

Reporting period covers activities from January 1, 2025, through December 31, 2025.

This annual report must be submitted to the Kansas Department of Health and Environment (KDHE) by February 28th, 2026. The annual report is to be submitted as PDF files to KDHE via the Kansas Environmental Information Management System (KEIMS). There is no requirement to provide physical copies of any documents.

## Executive Summary

## With this report, include an executive summary which covers the major aspects of the MS4 stormwater management program executed during the year and addresses the remaining topics identified in PART V of the permit that are not covered in the MCM sections following this page. In completing the executive summary, the preparer should address the following items:

- The status of compliance with permit conditions and program implementation. Describe any permit conditions that were newly introduced during the permit cycle and the status of implementation.

- A summary of progress towards achieving the statutory goal of reducing the discharge of pollutants to the maximum extent practicable (MEP). Include analysis of monitoring data to assess the success of the program at reducing the TMDL regulated pollutants, if applicable.

- Any aspects of the program that appeared especially effective at reducing pollutants in your stormwater discharge. Include a summary of information collected during the annual reporting period such as test results, surveys, or public comments/input

- Any aspects of the program that provided unsatisfactory results.

- The most successful and most challenging aspects of the program.

- Describe elected officials' participation in the stormwater pollution elimination.

- Describe the collaboration with other organizations to eliminate stormwater pollution and provide a list of other parties (such as other municipalities, non-profit organizations, or consultants), which are responsible for implementing any of the program areas of the Stormwater Management Program.

- If an audit/inspection of your MS4 program was conducted by EPA or KDHE during the year, list the deficiencies, potential findings, and/or Areas if Concern that were identified and provide a narrative explanation on how these items have been or will be addressed.

- Provide any new stormwater ordinances/resolutions or revised ordinances/resolutions which have been updated during the annual reporting period.

- Provide any site-specific Stormwater Pollution Prevention (SWP2) plans for permittee owned facilities which have been developed during the annual reporting period, if applicable.

- Provide results from monitoring and inspections of industrial stormwater facilities conducted during the annual reporting period, if applicable.

The executive summary does not need to be extensive and detailed.  It is anticipated the executive summaries will range from one to two pages in length depending on the scope of the program.

## B. Stormwater Management Program

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | Has the Stormwater Management Program (SMP) been developed and implemented? |
| ☐ | ☒ | ☐ | Has the SMP been modified or updated during this reporting period? |
| ☒ | ☐ | ☐ | Has the current SMP been submitted to KDHE via KEIMS? |

If the answer to item 3 is a “NO,” a copy of the updated SMP must be uploaded to KEIMS.

C. Stormwater Management Program Requirements (Six Minimum Control Measures)

# 1. Public Education and Outreach

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | Has a program been developed and implemented to educate the public about stormwater topics? |
| If the answer to the above question is “NO,” please explain why: |  |  |  |

On the following page(s), list all the Public Education and Outreach BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met during the previous calendar.

C. Stormwater Management Program Requirements (Six Minimum Control Measures)

# 1. Public Education and Outreach (Table)

List all the public education and outreach BMPs as identified in the SMP and provide the requested information in the following table. The BMPs listed in the below table should add up to a minimum of 7 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 1A PE&O - 1 (2pts) | Website: City of Eastborough will continue to place educational items on the website eastborough-ks.gov which additionally includes a link to wichita.gov. | Website effective 365 days last year. Website is operational and accessible by both the public and city staff. It includes educational materials from KDHE, EPA, City of Wichita, and City of Eastborough. | 2 |
| 1B PE&O - 6 (2pts) | Stormwater Hotline: Web based reporting of discharges accepted through the website eastborough-ks.gov via email: stormwater@eastborough-ks.gov. | Website operational 365 days/year. No reports of discharges. | 2 |
| 1C PE&O - 5 (1pts) | MS4 Permit & SMP Documents: Web based posting of the MS4 Permit and SMP document on the City Stormwater page. | The Eastborough MS4 Permit and SMP document was available 365 days/year on the City Stormwater page. | 1 |
| 1D PE&O - 12 (1pts) | Community Handouts: These are educational for the public in nature and include the following: •Homeowner’s Association Pond Maintenance •Residential Lawn Pollutants •Construction Site BMP’s •Post Construction BMP’s •Residential Sump Pump Discharge | Available at all 12 City Council meetings and available from City Hall every day it was open. | 1 |
| TOTAL POINTS CLAIMED FOR PUBLIC EDUCATION AND OUTREACH |  |  | 7 |

C. Stormwater Management Program Requirements (Six Minimum Control Measures) (CONTINUED)

# 1. Public Education and Outreach (Table)

List all the public education and outreach BMPs as identified in the SMP and provide the requested information in the following table. The BMP listed in the below table should add up to a minimum of 7 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 1E PE&O - 11 (1pts) | Public Education Program to Reduce Littering: Install and/or maintain signs to discourage littering. | Sign(s) installed & maintained for the entire year. | 1 |
| TOTAL POINTS CLAIMED FOR PUBLIC EDUCATION AND OUTREACH |  |  | 7 |

C. Stormwater Management Program Requirements (Six Minimum Control Measures)

# 1. Public involvement and Participation

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | Has a public involvement and participation program been developed and implemented to solicit public comments and recommendations regarding BMPs and measurable goals utilized to comply with the permit? |
| If the answer to the above question is “NO,” please explain why: |  |  |  |

On the following page(s), list all the Public Involvement and Participation BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met during the previous calendar.

C. Stormwater Management Program Requirements (Six Minimum Control Measures) (CONTINUED)

# 2. Public Involvement and Participation (Table)

List all public involvement and participation BMPs as identified in the SMP and provide the requested information in the following table. The BMPs listed in the below table should add up to a minimum of 6 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 2A P I/P - 1 (2pts) | Public Solicitation of Comments on BMPs & Goals associated with SMP: City of Eastborough will solicit public comment and participation regarding BMPs and measurable goals used to comply with City of Eastborough MS4 Permit. | Meeting advertised via web and prior to City Council Meeting; accomplished on 26 Nov 25. Sign-in, minutes, and invitation captured. | 2 |
| 2B P I/P - 3 (3pts) | Annual Cleanup: City of Eastborough, thru the citizenry, will accomplish a local cleanup with Waste Connections of Wichita, KS. Additionally, we will clean the “Dry Creek Bed” that is associated with our MS4 plan. | Accomplished 10 May 25. Dry Creek Bed – cleaned monthly. | 3 |
| 2C P I/P - 7 (1pt) | Pet Owner Waste Disposal: “Ordinance providing for the removal of animal feces” from local parks. Requiring signs and a pet waste bag dispenser. | Ordinance #1188 passed on 17 Dec 2002. 4 Signs and waste cans with bag dispensers are located in all Eastborough parks. Refilled and emptied weekly by contractor. | 1 |
| TOTAL POINTS CLAIMED FOR PUBLIC INVOLVEMENT AND PARTICIPATION |  |  | 6 |

- SMP Requirements (Six Minimum Control Measures) (Continued)

# Illicit Discharge Detection and Elimination

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | Has a program/plan been developed and is implemented to detect and address illicit/prohibited discharges into the MS4, including dry weather monitoring? |
| ☒ | ☐ | ☐ | Has a map of the MS4 been developed, showing the location of all outfalls, either pipes or open channel drainage, showing names and location of all streams or lakes receiving discharges from the outfalls? If not, state progress towards this goal below: |
| ☒ | ☐ | ☐ | Have ordinances, or resolutions, or regulations to prohibit non-stormwater discharges into the storm sewer system been enacted? |
|  |  |  | If yes, list ordinances/resolutions and their effective dates below: ORDINANCE NO. G15-01 - 5 May 201 |
| ☐ | ☒ | ☐ | Have the ordinances, resolutions, or regulations been modified? |
|  |  |  | If yes, list ordinances/resolutions and their effective dates below: |
| If the answer to any of the above questions is “NO,” please explain why: |  |  |  |

On the following page(s), list all the Illicit Discharge Detection and Elimination BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met during the previous calendar.

C. Stormwater Management Program Requirements (Six Minimum Control Measures) (CONTINUED)

# 3. Illicit Discharge Detection and Elimination (Table)

List all illicit discharge detection and elimination BMPs as identified in the SMP and provide the requested information in the following table. The BMPs listed in the below table should add up to a minimum of 7 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 3A | Stormwater Map: Develop a stormwater system map of the permittee’s MS4, showing the location of all outfalls, either pipes or open channel drainage, showing the names and location of all streams or lakes that receive discharges from those outfalls. A copy of the map shall be submitted to KDHE. | Map has been completed and has been submitted to KDHE. | 0 |
| 3B IDD&E - 7 (3pts) | Hazardous Waste Disposal: Inform public employees, businesses, and the general public of hazards associated with illegal discharges and improper disposal of waste. | Sedgwick County Program. All City residents received notice of this with annual city cleanup - Postcard sent to all residents in 2025. | 3 |
| 3C IDD&E - 3 (2pts) | Spill Response Plan: Develop a spill response plan, coordinated with city of Wichita. | MOU in place. Coordinated with Wichita Fire. | 2 |
| 3D IDD&E- 10 (5pts) | City Stormwater Inlet Inspection: Visually inspect 100% of city storm inlets. | Completed by contractor in 2025. | 5 |
| TOTAL POINTS CLAIMED FOR ILLICIT DISCHARGE DETECTION AND ELIMINATION |  |  | 10 |

## C. SMP Requirements (Six Minimum Control Measures) (Continued)

4. Construction Site Stormwater Runoff Control

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | The permit requires the permittee, if they have such authority, to enact ordinances or resolutions. Have ordinances or resolutions to address construction site runoff from new development/redevelopment projects been enacted? |
|  |  |  | If yes, list ordinances/resolutions and their effective dates below: ORDINANCE NO. G19 - 03 - 27 Aug 19 |
| ☒ | ☐ | ☐ | Has a procedure or program been developed requiring construction site owners and/or operators to implement appropriate erosion and sediment control best management practices? |
| ☒ | ☐ | ☐ | Has a procedure or program been developed requiring construction site owners and/or operators to control waste such as discarded building materials, concrete truck washout, chemicals, paint, litter, and sanitary waste at construction sites likely to cause adverse impacts to water quality? |
| ☒ | ☐ | ☐ | Has a procedure been developed and implemented requiring site plan review which includes consideration of potential water quality impacts? |
| ☒ | ☐ | ☐ | Has a procedure been developed for the receipt and consideration of information submitted by the public? |
| ☒ | ☐ | ☐ | Has a procedure been developed and implemented for construction site inspection and enforcement of the control measures? |

On the following page(s), list all the Construction Site Stormwater Runoff Control BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met in 2025.

C. Stormwater Management Program Requirements (Six Minimum Control Measures) (CONTINUED)

4. Construction Site Stormwater Runoff Control (Table)

List all construction site stormwater runoff control BMPs as identified in the SMP and provide the requested information in the following table. The BMPs listed in the below table should add up to a minimum of 6 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 4A CSSRC - 1 (2pts) | Ordinances and Enforcement: City of Eastborough has enacted an ordinance to require construction site owners and operators to control waste such as discarded building materials, concrete truck washout, chemicals, litter, and sanitary waste at the construction site that are likely to cause adverse impacts to water quality. | Ordinance G19 – 03 was enacted on 27 Aug 19. | 2 |
| 4B CSSRC - 4 (2pts) | Site Plan Review: Procedures for site plan review which incorporate consideration of potential water quality impacts. Done by Architectural review with City Council oversite. | 3 Permits in 2025 were reviewed and issued after oversight by City Architect and City Council when required | 2 |
| 4C CSSRC - 6 (2pts) | Construction Site Inspection: Written procedures for the inspection of construction sites. | Guide has been created and used to assist in inspection of construction sites. | 2 |
| TOTAL POINTS CLAIMED FOR CONSTRUCTION SITE STORMWATER RUNOFF CONTROL |  |  | 6 |

## C. SMP Requirements (Six Minimum Control Measures) (Continued)

5. Post-Construction Site Stormwater Management in New Development and Redevelopment

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | The permit requires the permittee, if they have such authority, to enact ordinances or resolutions. Have ordinances or resolutions to address post-construction site runoff from new development and redevelopment projects been enacted? |
|  |  |  | If yes, list ordinances/resolutions and their effective dates below: ORDINANCE NO. G19 – 04 - 25 Sep 19 |
| ☒ | ☐ | ☐ | Has a post-construction stormwater runoff program been implemented? |
| ☒ | ☐ | ☐ | Have post-construction structural BMPs been inspected this past year? |
| ☐ | ☐ | ☒ | Are there BMPs specified to minimize adverse water quality impacts? |
| ☐ | ☐ | ☒ | Have strategies been developed to include a combination of structural and/or non-structural BMP appropriate for the municipality? |
| ☐ | ☐ | ☒ | Have measures been implemented to ensure adequate long-term operation and maintenance of structural BMPs? |

On the following page(s), list all the post-construction stormwater management BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met in 2025.

C. Stormwater Management Program Requirements (Six Minimum Control Measures) (CONTINUED)

5. Post-Construction Stormwater Management (Table)

List all post-construction stormwater management BMPs as identified in the SMP and provide the requested information in the following table. The BMPs listed in the below table should add up to a minimum of 7 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 5A | Ordinances and Enforcement: City of Eastborough has enacted an ordinance to address construction site runoff from new development and redevelopment projects. A copy of the ordinances or resolutions has been submitted to KDHE. | Ordinance G19 – 04 was enacted on 25 Sep 19. | 0 |
| 5B PCSM - 1 (3pts) | Adoption of Custom Design Stormwater Manual: Adoption of a Custom Design Manual for Post-Construction Stormwater Management. | In cooperation with Sedgwick Co; Ordinance G23 – 04 was enacted on 19 Dec 24. | 3 |
| 5C PCSM - 4 (2pts) | Develop a Master Plan Which Establishes Zoning & Development Standards; Develop a master plan which establishes zoning and development standards. | City of Eastborough prohibits any business and is zoned only for residential. Additionally, all land is developed and no parcels greater than one acre are available for home construction. Homes are mandated to be single family by the Cities Charter Ordinance. We believe, no other urban area in Kansas meets these requirements. Ordinance SP12-01 prohibits businesses in the Eastborough city limits. | 2 |
| 5D PCSM - 8 (2pts) | City of Eastborough Rain Barrel Program: Program to encourage residential owners to install stormwater BMPs – Rain Barrels. | Website available and 3 Rain Barrels have been observed in City of Eastborough > 1% of homes (250 Homes Total) | 2 |
| TOTAL POINTS CLAIMED FOR POST-CONSTRUCTION STORMWATER MANAGEMENT |  |  | 7 |

## C. SMP Requirements (Six Minimum Control Measures) (Continued)

6. Municipal Pollution Prevention/Good Housekeeping

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | The permit requires the permittee to enact a program to address pollution prevention/good housekeeping for Municipal Operations. Has such a program been enacted? |
| ☐ | ☐ | ☒ | Is there a program to ensure proper use and storage of pesticides, herbicides, and fertilizers at permittee owned facilities? |
| ☐ | ☐ | ☒ | Have Stormwater Pollution Prevention (SWP2) plans been developed for all permittee owned facilities with significant storage of potential stormwater pollutants? |
|  |  |  | List the facilities with developed and implemented SWP2 plans: NONE |
|  |  |  | List the facilities that are in the process of developing SWP2 plans: |
| ☐ | ☒ | ☐ | Are there permittee owned facilities with significant storage of potential stormwater pollutants that were determined to have “no exposure” to stormwater? |
|  |  |  | List the facilities determined to have “no exposure” to stormwater and will not be implementing a SWP2: NONE |

Please note, SWP2 requirements are not included for all permittees.

On the following page(s), list all the municipal pollution prevention/good housekeeping BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met in 2025.

C. Stormwater Management Program Requirements (Six Minimum Control Measures) (CONTINUED)

6. Municipal Pollution Prevention / Housekeeping (Table)

List all municipal pollution prevention / housekeeping BMPs as identified in the SMP and provide the requested information in the following table. The BMPs listed in the below table should add up to a minimum of 6 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- |
| 6A PP/GH - 5 (2pts) | Street Sweeping: City will conduct street sweeping program to reduce pollutant loadings to the storm sewer. | Semi Annually Accomplished. (100% of streets X 2) 25 Feb 25 25 Jun 25 | 2 |
| 6B PP/GH - 7 (2pts) | Annual Stormwater Inlet Check: Ensure stormwater inlets and drains inspected and cleaned on an annual basis. | Complied with in 2025. (100% of Inlets) | 2 |
| 6C PP/GH - 8 (2pts) | Online Stormwater Map: Develop and implement an updated online sewer map accessible by the public. | Complied with on Stormwater Website. Available 365 days/year. | 2 |
| TOTAL POINTS CLAIMED FOR MUNICIPAL POLLUTION PREVENTION / HOUSEKEEPING |  |  | 6 |

# D. Total Maximum Daily Load (TMDL) Best Management Practices (BMPs)

Some permittees are required to implement BMPs to reduce the discharge of listed TMDL regulated pollutants (potentially any or all the following pollutants – bacteria, nutrients, and sediment)

Please place an “X” in the left boxes to complete the table below.

| YES | NO | N/A |  |
| --- | --- | --- | --- |
| ☒ | ☐ | ☐ | Were any BMPs intended to reduce the discharge of TMDL regulated pollutants implemented? See your permit to determine if TMDL regulated pollutants are listed for the receiving stream affected by your stormwater system (TMDL Table). |

On the following page(s), list all the Total Maximum Daily Load (TMDL) BMPs that were implemented in 2025 and provide the requested information in the table. Please note the PROGRESS ACHIEVING GOALS (MEASURED RESULT) Section should include permittee-specific information on how the measurable goal was met in 2025.

# D. TMDL BMP Table

The BMPs listed in the below table should add up to a minimum of 6 points.

| BMP ID NUMBER | BRIEF BMP DESCRIPTION | REGULATED TMDL PARAMETERS | PROGRESS ACHIEVING GOAL(S) (MEASURED RESULT) | POINTS CLAIMED |
| --- | --- | --- | --- | --- |
| TMDL-1 (1pt) | Install pet waste stations which include a glove/bag dispenser with signage and waste can to encourage pet waste disposal at either parks, trails, rest areas or other public lands owned by the permittee. | Bacteria and Nutrients | Two pet waste station are installed at the selected park. The station(s) includes signage which encourages proper pet waste disposal/cleanup and a waste can. | 1 |
| TMDL – 7 (3pts) | Inspect 10% of all known MS4 outfalls for dry weather discharges either annually or twice per year to identify potential illicit discharges. | Bacteria, Nutrients, and Sediment | 100% of all known MS4 outfalls were inspected in 2025. No illicit discharges noted. | 3 |
| TMDL – 9 (2pts) | Implement a program to collect and properly dispose of litter, on four separate occasions per calendar year, within areas where littering has been identified as a problem. Such areas may include municipal parks, trails, rest areas, or other public lands owned by the permittee. | Bacteria | The four litter collection efforts occurred as part of our contract with Landscape Solutions. All public areas, to include the entirety of “Gypsum Creek” are cleaned monthly to include winter, spring, summer and fall. | 2 |
| TOTAL POINTS CLAIMED FOR TMDL |  |  |  | 6 |

KANSAS DEPARTMENT OF HEALTH & ENVIRONMENT

# Municipal Permitting & Engineering Unit

1000 SW Jackson Street, Suite 420

Topeka, Kansas 66612

KDHE.MS4@ks.gov

ASSESSMENT OF APPROPRIATENESS OF BMPS

City of Eastborough is a unique community; it is surrounded on all sides by, the largest city in the State of Kansas, Wichita. City of Eastborough has no businesses and no commercial real estate. City of Eastborough is made up of entirely single-family homes encompassing 0.4 square miles with two paid city staff.  City of Wichita has a Storm Water Utility budget in excess of 10.8 million Dollars and 39 full-time employees to monitor and comply with permit M-AR94-S001.  In an effort to create the most value for the taxpayer, City of Eastborough should leverage many of City of Wichita's tools to increase the efficacy of our program and reduce the shadow of bureaucracy. I believe the energies we have applied to our BMPs are encouraging our efforts to achieve the statutory goal of reducing the discharge of pollutants to the Maximum Extent Practicable (MEP). This program as a whole is excessive for the size of this municipality and its extremely limited threat of illicit discharges.

ASSESSMENT OF EFFECTIVENESS OF BMPS

Our wet weather monitoring program was successful in accomplishing 4 of 4 required storm sampling events to verify BMPs in the SMP by monitoring TMDL’s.  No abnormal results were detected.

DATA ANALYSIS

Under the City of Eastborough Permit, Water Sampling and data analysis was accomplished under BMP (3) Illicit Discharge Detection and Elimination. City of Eastborough was able to accomplish 100% of water samples. Every sample was input into the eDMR system.  We will continue to strive to meet 100% compliance.

STORM WATER ACTIVITIES FOR CALENDAR YEAR 2026

City of Eastborough’s BMP’s will remain in place for all of 2026. City of Eastborough will continue to welcome citizen involvement and will continue to solicit citizen input to refine its program.

UPDATED ORDINANCES OR RESOLUTIONS ASSOCIATED WITH THE SMP

City of Eastborough believes it is in compliance with all mandatory ordinance requirements.

OTHER PARTIES RESPONSIBLE FOR IMPLEMENTING PROGRAM AREAS

- Stormwater map is created and monitored by MKEC of Wichita, KS.

- Water samples, when collected, will be analyzed by Meridian Analytical Labs in Wichita, KS.

- Due to our proximity, Eastborough residents view City of Wichita education and outreach in a similar manner to residents of Wichita, KS.

- Sedgwick County in cooperation with Hazardous Waste Collection and Ordinance G23-04.

- Minneha Township is a paid entity of City of Eastborough and provides quarterly street sweeping.

- Landscape Solutions provides Inlet & Outflow cleaning, Park & City Maintenance.

- Treetop Nursery provides Park Maintenance.

EXECUTIVE SUMMARY

City of Eastborough is a well-maintained City that is especially successful at the objective of reducing pollutants in stormwater discharges.  The town presents as well maintained and beautiful urban area filled with parks and high-quality homes. The bureaucratic requirements for the documentation of the city’s accomplishments in compliance with the permit are the most arduous items associated with the program, as City of Eastborough has only one paid city staff member for accomplishment of all city duties. City clean-ups are accomplished primarily by a contracted team not by residents. Mayor accomplishes all stormwater duties and is unpaid by either position. City of Eastborough leverages multiple partnerships with City of Wichita and Sedgwick County.

.

Map of surface water sampling locations: